{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["sheet1","수질검사기관"],"read":"whole","date_system":"1900"}

{"sheet":"sheet1","index":0,"n_rows":40,"n_cols":28,"rows_kept":40}
["순번","검사년도","검사분기","광역시도","시설물번호","전용마을소규모시설","마을상수도위치","수도규모","수원","채수년월일","성적서발행일","수질검사기관","일반세균","총대장균군","불소","암모니아성질소","질산성질소","냄새","맛","색도","망간","탁도","알루미늄","잔류염소","대장균/분원성대장균군","붕소","염소이온","우라늄"]
[{"$nulls":11},"최대",0,null,0.68,0,6.6,null,null,1,0.008,0.91,0.1,1]
[{"$nulls":11},"최소",0,null,0,0,0,null,null,0,0,0.02,0,0]
[{"$nulls":11},"평균",0,null,0.03,{"v":0,"d":"0.0"},1.2,null,null,0,0.001,0.16,{"v":0,"d":"0.0"},0.38,null,{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},{"v":0,"d":"0.0"}]
[{"$nulls":11},"기준값","(100 CFU/mL)","(0 /100mL)","(1.5 mg/L)","(0.5 mg/L)","(10 mg/L)","(0 -)","(0 -)","(5 도)","(0.05 mg/L)","(1 NTU)","(0.2 mg/L)","(4 mg/L)","(0 /100mL)","(1 mg/L)","(250 mg/L)","(30 ㎍/L)"]
["1","2025","3/4","전라남도 여수시","SS00022501","여도아파트","전라남도 여수시 상암로 72","전용상수도","지하수","20250708","20250729","바른환경연구소",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},5.4,"적합","적합",0,{"v":0,"d":"0.0"},0.02,{"v":0,"d":"0.0"},0.24,"불검출"]
["2","2025","3/4","전라남도 여수시","SS00148773","율촌 1차 국제미소래","전라남도 여수시 율촌면 월산리 1502-1","전용상수도","지하수","20250710","20250715","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.7,"적합","적합",0,{"v":0,"d":"0.0"},0.06,{"v":0,"d":"0.0"},0.1,"불검출"]
["3","2025","3/4","전라남도 여수시","SS00148774","율촌 2차 국제미소래","전라남도 여수시 율촌면 여순로 1022-139 (율촌 2차 국제미소래)","전용상수도","지하수","20250710","20250715","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.7,"적합","적합",0,{"v":0,"d":"0.0"},0.06,{"v":0,"d":"0.0"},0.3,"불검출"]
["4","2025","3/4","전라남도 여수시","SS00147934","유월드 루지 테마파크 : 전용상수도","전라남도 여수시 소라면 안심산길 155","전용상수도","지하수","20250905","20250915","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"적합","적합",0,{"v":0,"d":"0.0"},0.05,{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"불검출"]
["5","2025","3/4","전라남도 여수시","SS00010266","초도정수장","전라남도 여수시 삼산면 초도리 산 1903","마을상수도","계곡수","20250912","20250919","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.3,"적합","적합",0,{"v":0,"d":"0.0"},0.07,{"v":0,"d":"0.0"},0.4,"불검출"]
["6","2025","3/4","전라남도 여수시","SS00010281","횡간","전라남도 여수시 남면 달밭금길 25","마을상수도","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},4.6,"적합","적합",0,{"v":0,"d":"0.0"},0.05,{"v":0,"d":"0.0"},0.4,"불검출"]
["7","2025","3/4","전라남도 여수시","SS00034650","하화","전라남도 여수시 화정면 하화리 201","소규모급수시설","지하수","20250910","20250917","순천대학교",0,"불검출",0.19,{"v":0,"d":"0.0"},4.3,"적합","적합",0,{"v":0,"d":"0.0"},0.21,{"v":0,"d":"0.0"},{"v":1,"d":"1.0"},"불검출"]
["8","2025","3/4","전라남도 여수시","SS00034532","광도","전라남도 여수시 삼산면 손죽리 산 1","소규모급수시설","계곡수","20250910","20250917","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.3,"적합","적합",0,{"v":0,"d":"0.0"},0.32,{"v":0,"d":"0.0"},0.4,"불검출"]
["9","2025","3/4","전라남도 여수시","SS00148289","금죽","전라남도 여수시 돌산읍 금봉리 1","소규모급수시설","지하수","20250905","20250915","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.4,"적합","적합",0,{"v":0,"d":"0.0"},0.6,{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"불검출"]
["10","2025","3/4","전라남도 여수시","SS00034528","고막","전라남도 여수시 봉계동 72-3","소규모급수시설","지하수","20250912","20250919","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},2.2,"적합","적합",0,{"v":0,"d":"0.0"},0.11,{"v":0,"d":"0.0"},0.4,"불검출"]
["11","2025","3/4","전라남도 여수시","SS00034542","나발","전라남도 여수시 남면 나발도길 12","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.1,"적합","적합",0,{"v":0,"d":"0.0"},0.06,{"v":0,"d":"0.0"},0.4,"불검출"]
["12","2025","3/4","전라남도 여수시","SS00010065","대동","전라남도 여수시 삼산면 초도로 48","마을상수도","지하수","20250912","20250919","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},2.8,"적합","적합",0,0.006,0.11,{"v":0,"d":"0.0"},0.4,"불검출"]
["13","2025","3/4","전라남도 여수시","SS00010067","대두","전라남도 여수시","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.1,"적합","적합",0,{"v":0,"d":"0.0"},0.07,{"v":0,"d":"0.0"},0.4,"불검출"]
["14","2025","3/4","전라남도 여수시","SS00010127","봉통","전라남도 여수시 남면 두라리 420-2","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"적합","적합",0,{"v":0,"d":"0.0"},0.07,{"v":0,"d":"0.0"},0.4,"불검출"]
["15","2025","3/4","전라남도 여수시","SS00034584","상화","전라남도 여수시 화정면 상화리 143-1","소규모급수시설","지하수","20250910","20250917","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.2,"적합","적합",0,{"v":0,"d":"0.0"},0.05,{"v":0,"d":"0.0"},0.4,"불검출"]
["16","2025","3/4","전라남도 여수시","SS00034590","선창","전라남도 여수시","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"적합","적합",0,{"v":0,"d":"0.0"},0.08,{"v":0,"d":"0.0"},0.4,"불검출"]
["17","2025","3/4","전라남도 여수시","SS00034591","소거문","전라남도 여수시 삼산면 손죽리 산 1","소규모급수시설","지하수","20250910","20250917","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},1.4,"적합","적합",0,{"v":0,"d":"0.0"},0.28,{"v":0,"d":"0.0"},0.7,"불검출"]
["18","2025","3/4","전라남도 여수시","SS00034592","소두라","전라남도 여수시 남면 연도리 208","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.6,"적합","적합",0,{"v":0,"d":"0.0"},0.17,{"v":0,"d":"0.0"},0.1,"불검출"]
["19","2025","3/4","전라남도 여수시","SS00034598","소횡간","전라남도 여수시 남면 횡간리 18-1","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.3,"적합","적합",0,{"v":0,"d":"0.0"},0.08,{"v":0,"d":"0.0"},0.2,"불검출"]
["20","2025","3/4","전라남도 여수시","SS00010174","손죽","전라남도 여수시","마을상수도","계곡수","20250910","20250917","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.6,"적합","적합",0,{"v":0,"d":"0.0"},0.28,{"v":0,"d":"0.0"},0.4,"불검출"]
["21","2025","3/4","전라남도 여수시","SS00034601","송도","전남 여수시 율촌면 여동리","소규모급수시설","지하수","20250909","20250926","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},3.3,"적합","적합",1,0.007,0.88,0.1,0.2,"불검출"]
["22","2025","3/4","전라남도 여수시","SS00034602","송여자","전라남도 여수시 화정면 여자리 254","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.2,"적합","적합",0,{"v":0,"d":"0.0"},0.11,{"v":0,"d":"0.0"},0.7,"불검출"]
["23","2025","3/4","전라남도 여수시","SS00147732","연도","전라남도 여수시 남면 연도리 산 502-3","마을상수도","지하수","20250904","20250912","순천대학교",0,"불검출",0.68,{"v":0,"d":"0.0"},0.1,"적합","적합",0,0.008,0.91,{"v":0,"d":"0.0"},0.3,"불검출"]
["24","2025","3/4","전라남도 여수시","SS00034616","예미","전라남도 여수시 삼산면 초도리 산 96","소규모급수시설","지하수","20250912","20250919","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.3,"적합","적합",0,{"v":0,"d":"0.0"},0.09,{"v":0,"d":"0.0"},0.1,"불검출"]
["25","2025","3/4","전라남도 여수시","SS00034622","운두","전라남도 여수시 화양면 이천리 1","소규모급수시설","지하수","20250908","20250915","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.1,"적합","적합",0,{"v":0,"d":"0.0"},0.06,{"v":0,"d":"0.0"},0.2,"불검출"]
["26","2025","3/4","전라남도 여수시","SS00010220","월암","전라남도 여수시 돌산읍 평사리 412","마을상수도","지하수","20250905","20250915","순천대학교",0,"불검출",0.33,{"v":0,"d":"0.0"},6.6,"적합","적합",0,{"v":0,"d":"0.0"},0.05,{"v":0,"d":"0.0"},0.4,"불검출"]
["27","2025","3/4","전라남도 여수시","SS00010225","월호","전라남도 여수시 화정면 월호리 338","마을상수도","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"적합","적합",0,{"v":0,"d":"0.0"},0.07,{"v":0,"d":"0.0"},0.4,"불검출"]
["28","2025","3/4","전라남도 여수시","SS00010226","유촌","전라남도 여수시 삼산면 초도리 산 2903","마을상수도","지하수","20250904","20250911","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.1,"적합","적합",0,{"v":0,"d":"0.0"},0.11,{"v":0,"d":"0.0"},0.4,"불검출"]
["29","2025","3/4","전라남도 여수시","SS00010231","의성","전라남도 여수시 삼산면 초도리 산 1636","마을상수도","지하수","20250912","20250919","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.6,"적합","적합",0,{"v":0,"d":"0.0"},0.2,{"v":0,"d":"0.0"},0.7,"불검출"]
["30","2025","3/4","전라남도 여수시","SS00034633","자봉","전라남도 여수시 화정면 자봉도안길 10","소규모급수시설","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.1,"적합","적합",0,{"v":0,"d":"0.0"},0.04,{"v":0,"d":"0.0"},0.2,"불검출"]
["31","2025","3/4","전라남도 여수시","SS00010245","제도","전라남도 여수시 화정면 제도리 138-2","마을상수도","지하수","20250910","20250917","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},"적합","적합",0,0.004,0.06,{"v":0,"d":"0.0"},0.2,"불검출"]
["32","2025","3/4","전라남도 여수시","SS00010248","죽촌","전라남도 여수시 삼산면 죽촌2길 1","마을상수도","지표수","20250904","20250911","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},3.4,"적합","적합",0,{"v":0,"d":"0.0"},0.12,{"v":0,"d":"0.0"},0.4,"불검출"]
["33","2025","3/4","전라남도 여수시","SS00010197","여자","전라남도 여수시","마을상수도","지하수","20250909","20250916","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.1,"적합","적합",0,{"v":0,"d":"0.0"},0.06,{"v":0,"d":"0.0"},0.4,"불검출"]
["34","2025","3/4","전라남도 여수시","SS00034646","평도","전라남도 여수시 삼산면 손죽리 산 1","소규모급수시설","해수","20250910","20250917","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},2.5,"적합","적합",0,{"v":0,"d":"0.0"},0.13,{"v":0,"d":"0.0"},0.7,"불검출"]
["35","2025","3/4","전라남도 여수시","SS00010258","진막","전라남도 여수시 삼산면 초도리 산 2624","마을상수도","지하수","20250912","20250919","순천대학교",0,"불검출",{"v":0,"d":"0.0"},{"v":0,"d":"0.0"},0.4,"적합","적합",0,{"v":0,"d":"0.0"},0.08,{"v":0,"d":"0.0"},{"v":1,"d":"1.0"},"불검출"]

{"sheet":"수질검사기관","index":1,"n_rows":174,"n_cols":2,"rows_kept":174}
["순번","검사기관"]
["1","선택"]
["2","국립환경과학원"]
["3","서울-보건환경연구원"]
["4","부산-보건환경연구원"]
["5","대구-보건환경연구원"]
["6","인천-보건환경연구원"]
["7","광주-보건환경연구원"]
["8","대전-보건환경연구원"]
["9","울산-보건환경연구원"]
["10","경기-보건환경연구원"]
["11","강원-보건환경연구원"]
["12","충북-보건환경연구원"]
["13","충남-보건환경연구원"]
["14","전북-보건환경연구원"]
["15","전남-보건환경연구원"]
["16","경북-보건환경연구원"]
["17","경남-보건환경연구원"]
["18","제주-보건환경연구원"]
["19","서울시 상수도 연구원"]
["20","부산시-상수도사업본부"]
["21","대구시-상수도사업본부"]
["22","인천시-상수도사업본부"]
["23","광주시-상수도사업본부"]
["24","대전시-상수도사업본부"]
["25","울산시-상수도사업본부"]
["26","한국수자원공사 한강유역본부"]
["27","한국수자원공사 금강유역본부"]
["28","한국수자원공사 금강유역협력단"]
["29","한국수자원공사 영섬유역본부"]
["30","한국수자원공사 낙동강유역본부"]
["31","한국수자원공사 부산울산경남지역협력본부"]
["32","한국수자원공사 물환경관리처"]
["33","진주시수질검사소"]
["34","제천시수도사업소"]
["35","마산시칠서정수사업소"]
["36","안산시상수도사업소"]
["37","원주시 상.하수도사업본부"]
["38","충주시상수도사업소"]
["39","김해시상수도사업소"]
["40","양산시상수도사업소"]
["41","부천시상수도사업소"]
["42","순천시상수도사업소"]
["43","목포시상수도사업소"]
["44","청주시상수도사업본부"]
["45","수원시상수도사업소"]
["46","포항시 상하수도사업소"]
["47","고양시 상하수도사업소"]
["48","포항시 상수도 사업소"]
["49","창원시 상하수도사업소 정수팀"]
["50","성남시 맑은물 관리사업소"]
["51","용인시 상수도사업소"]
["52","창원시 상수도사업소"]
["53","제주특별자치도 수자원본부"]
["54","김포시맑은물사업소"]
["55","서울시 강남수도사업소"]
["56","서울시 강동수도사업소"]
["57","서울시 강서수도사업소"]
["58","서울시 남부수도사업소"]
["59","서울시 동부수도사업소"]
["60","서울시 북부수도사업소"]
["61","서울시 서부수도사업소"]
["62","서울시 중부수도사업소"]
["63","천안시 맑은물 사업본부"]
["64","제주특별자치도 상하수도본부"]
["65","포항시 맑은물사업본부"]
["66","진해시 상수도사업소"]
["67","상수도사업소"]
["68","부천시먹는물검사기관"]
["69","해당 시(군)보건소"]
["70","한국식품연구소"]
["71","한국보건산업진흥원"]
["72","자체수질검사"]
["73","(주)한국종합공해"]
["74","경희대-지구환경연구소"]
["75","한국화학시험연구원"]
["76","(재)한국환경수도연구소"]
["77","농업기반공사농어촌연구원"]
["78","(주)산업공해연구소"]
["79","(주)일영랩"]
["80","(주)진로연구소"]
["81","다산생명과학원(주)"]
["82","중부대학교산학협력단"]
["83","웅진코웨이(주)수질연구소"]
["84","한국환경위생연구원"]
["85","대전보건대학환경문제연구소"]
["86","동의공업대학환경과학연구소"]
["87","계명대학교전통미생물자원연구센터"]
["88","(주)이씨테크환경생명기술연구원"]
["89","(재)한국화학시험연구원"]
["90","고려대학교병설보건대학부설보건과학연구"]
["91","(재)한국생활환경시험연구원"]
["92","(주)워트랩"]
["93","(주)진양환경연구소"]
["94","주식회사 랩솔루션"]
["95","상지대학교부속기관자연과학연구지원센터"]
["96","(주)기림생명과학원"]
["97","진주산업대학교환경문제연구소"]
["98","(주)미래생활환경연구원"]
["99","(주)한국환경시험연구소"]
["100","(주)신성생명환경연구원-당진"]
["101","중앙생명과학원(주)서울연구원"]
["102","(주)동진생명연구원"]
["103","전북대학교물환경연구센터"]
["104","(주)동우환경기술연구원"]
["105","(재)네오딘의학연구소"]
["106","(주)영웅 환경생명연구원"]
["107","제일랩(대구)"]
["108","국립한경대학교 한경분석센터"]
["109","(주)그린환경"]
["110","(주)미래덴한 연구소"]
["111","(주)상록엔바이로"]
["112","제주대학교 생명과학기술 혁신센터"]
["113","연세대학교"]
["114","(주)에이엔드에프"]
["115","(주)유로핀즈 우솔"]
["116","(주)에스푸드가디언스"]
["117","충북대학교 산학협력단"]
["118","위앤라이프(주)"]
["119","영웅생명과학원(주)"]
["120","(주)랩프런티어 부설연구소"]
["121","(주)웬디바이오"]
["122","동신대학교 친환경농식품산업화센터 환경분석과학원"]
["123","KOTITI시험연구원"]
["124","우솔환경연구원"]
["125","중앙생명과학원(주)대덕연구원"]
["126","(주)피엘아이환경기술연구원"]
["127","(주)엔텍분석연구원"]
["128","한울생명과학(주)"]
["129","청명기연환경"]
["130","미래수질연구원"]
["131","전주대학교 농생명EM 환경연구센터"]
["132","이산 친환경연구원"]
["133","(주)비에스랩"]
["134","바른환경연구소"]
["135","(주)신성생명환경연구원"]
["136","워터스 생활환경연구소"]
["137","(주)혜성환경"]
["138","한국물환경연구원"]
["139","연세환경"]
["140","(주)수앤수물환경연구소"]
["141","농협경제지주 (주)축산연구원"]
["142","중앙생명연구원(주)"]
["143","순천대학교"]
["144","본제이워터스"]
["145","누리생명과학원(주)"]
["146","(주)그린환경연구원"]
["147","(재)fiti시험연구원"]
["148","동명생명과학원(주)"]
["149","DK EcoV 환경미생물연구소"]
["150","(주)키위수질시험센터"]
["151","(주)다솔물환경연구소"]
["152","(주)맑은물분석연구원"]
["153","(주)한국환경안전연구소"]
["154","맑은환경시험연구원"]
["155","경남과학기술대학교 산학협력단 환경측정검사센터"]
["156","영진전문대학교 산학협력단 그린센터"]
["157","(주)우리생명연구원"]
["158","주식회사 우리연구원"]
["159","(주)미래환경연구원"]
["160","(주)과학기술분석센타"]
["161","아이센(주)"]
["162","(주)국토엔지니어링"]
["163","(주)금강환경연구원"]
["164","(주)지이테스팅"]
["165","(주)한국수질시험연구소"]
["166","(주)한국유로핀즈분석서비스"]
["167","(주)이엠연구소"]
["168","(주)맑은환경시험연구원"]
["169","한국환경공단국가물산업클러스터사업단"]
["170","전주시 상하수도본부"]
["171","경상국립대학교 환경측정검사센터"]
["172","기타"]
["173","(주)신화환경연구원"]